# Site Inspection Checklist

LOCATION OF DEVELOPMENT	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

INSPECTION OFFICER  . . . . . . . . . . . . . . . . . . . . . . . . . . .	DATE	. . . . . . . . . . . . . . . . .

SIGNATURE		. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

N/A	–  not applicable

 	–  acceptable controls adopted

  	–  measures are not acceptable, or a potential problem exists

Part A: Initial site inspection

| Item | Consideration | Assessment |
| --- | --- | --- |
| 1 | Has an Erosion and Sediment Control Plan (ESCP) been approved for the site? | . . . . . . . . . . . |
| 2 | Have all necessary development approvals been obtained? | . . . . . . . . . . . |
| 3 | Are site conditions consistent with those assumed within the approved ESCP? | . . . . . . . . . . . |
| 4 | Are environmental values being adequately protected? | . . . . . . . . . . . |
| 5 | Are all ESC-related development conditions being satisfied? | . . . . . . . . . . . |
| 6 | Was the full perimeter of the work site inspected? | . . . . . . . . . . . |
| 7 | Are all reasonable and practicable measures being taken to minimise environmental harm? | . . . . . . . . . . . |

Part B: Site inspection and monitoring

| Item | Consideration | Assessment |
| --- | --- | --- |
| 8 | Appropriate in-house site inspections of ESC practices are being carried out such that all control measures are being maintained. | . . . . . . . . . . . |
| 9 | Site inspections and monitoring are being carried out at appropriate times and intervals. | . . . . . . . . . . . |

Part C: Site establishment

| Item | Consideration | Assessment |
| --- | --- | --- |
| 10 | Site access is controlled and the number of access points minimised. | . . . . . . . . . . . |
| 11 | Adequate drainage and sediment controls exist at site entry/exit points. | . . . . . . . . . . . |
| 12 | Adequate drainage, erosion and sediment controls have been placed around the site compound. | . . . . . . . . . . . |
| 13 | Office compound area and car park gravelled/stabilised where necessary to control erosion and mud generation. | . . . . . . . . . . . |
| 14 | Appropriate drainage and sediment controls are installed prior to new areas being cleared or disturbed. | . . . . . . . . . . . |

Part D: Site and vegetation management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 15 | Vegetation Management Plan (VMP) and/or landscape plan has been prepared. | . . . . . . . . . . . |
| 16 | VMP and/or landscape plan is being appropriately implemented. | . . . . . . . . . . . |
| 17 | Site personnel appear to be aware of ESC requirements and have ready access to the Erosion and Sediment Control Plan. | . . . . . . . . . . . |
| 18 | ESC measures are being installed in accordance with the approved Installation Sequence. | . . . . . . . . . . . |
| 19 | Adequate supplies of ESC materials stored on-site: such as straw bales, wire, stakes, sediment fence fabric, filter cloth, clean aggregate. | . . . . . . . . . . . |
| 20 | Temporary access roads are stabilised where appropriate. | . . . . . . . . . . . |
| 21 | Permanent roads are programmed to be sealed as soon as reasonable and practicable. | . . . . . . . . . . . |
| 22 | Sediment deposition is not observed on external roads. | . . . . . . . . . . . |
| 23 | Adequate records are being kept on chemical dosing of sediment basins, site inspections and site maintenance. | . . . . . . . . . . . |
| 24 | The site is adequately prepared for the anticipated weather conditions. | . . . . . . . . . . . |
| 25 | “Witness Points” and “Hold Points” are being appropriately managed and adhered to. | . . . . . . . . . . . |
| 26 | Adequate protection provided for non-disturbance areas, buffer zones, protected trees. | . . . . . . . . . . . |
| 27 | Disturbances removed from the drip line of protected trees. | . . . . . . . . . . . |
| 28 | Brick-, masonry-, concrete-, and tile-cutting activities not carried out within road reserves (if possible) and all liquid waste is fully contained on-site or behind bunds. | . . . . . . . . . . . |

Part E: Material and waste management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 29 | Chemicals and petroleum products appropriately stored on site. | . . . . . . . . . . . |
| 30 | Emergency spill response plan has been prepared for the site. | . . . . . . . . . . . |
| 31 | Oil/petroleum spill containment/response kits available on-site where appropriate. | . . . . . . . . . . . |
| 32 | Adequate litter and waste receptors exist on-site. | . . . . . . . . . . . |
| 33 | Waste receptors for concrete, paints, acid washing, litter and building waste are being maintained. | . . . . . . . . . . . |
| 34 | Cement-laden liquid waste and wash-off is prevented from entering waterways and stormwater systems. | . . . . . . . . . . . |
| 35 | Waste water from construction activities such as wash water, de-watering operations, and dust control is being captured and treated. | . . . . . . . . . . . |
| 36 | On-site mortar/cement/concrete mixing is carried out behind earth bunds, or other such measures employed to fully contain cement-laden waste and spills. | . . . . . . . . . . . |
| 37 | Appropriate wash-down facilities provided from concrete trucks, mixing and pumping equipment. | . . . . . . . . . . . |

Part F: Soil management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 38 | Topsoil stripped and stockpiled prior to major earthworks. | . . . . . . . . . . . |
| 39 | Stockpiles located at least 5m away from top of watercourse banks. | . . . . . . . . . . . |
| 40 | Long-term soil stockpiles adequately protected against wind and rain. | . . . . . . . . . . . |
| 41 | Adequate sediment controls placed down-slope of stockpiles. | . . . . . . . . . . . |
| 42 | Stockpile sediment control (Filter Fence or Sediment Fence) is appropriate for the soil type and site conditions. | . . . . . . . . . . . |
| 43 | Adequate drainage controls placed up-slope of stockpiles. | . . . . . . . . . . . |
| 44 | Soil stockpiles do not encroach upon protected vegetation. | . . . . . . . . . . . |
| 45 | Subsoils adequately scarified prior to topsoil placement. | . . . . . . . . . . . |
| 46 | Topsoil is being replaced at an adequate depth. | . . . . . . . . . . . |

Part G: Drainage controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 47 | Construction Drainage Plans (CDPs) are consistent with actual site conditions (i.e. current stage of works). | . . . . . . . . . . . |
| 48 | Drainage Control measures are consistent with the ESCP. | . . . . . . . . . . . |
| 49 | Drainage Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 50 | Adequate diversion/management of up-slope stormwater. | . . . . . . . . . . . |
| 51 | Up-slope “clean” water is being appropriately diverted around/through the site in a non-erosive manner. | . . . . . . . . . . . |
| 52 | Stormwater runoff diverted away from unstable slopes. | . . . . . . . . . . . |
| 53 | Flow diversion channels/banks stabilised against erosion. | . . . . . . . . . . . |
| 54 | Flow not unlawfully discharged onto an adjacent property. | . . . . . . . . . . . |
| 55 | Spacing of cross drainage (e.g. Catch Drains or Flow Diversion Banks) down long slopes is sufficient to prevent “rill” erosion. | . . . . . . . . . . . |
| 56 | Earth batters are free of “rill” erosion. | . . . . . . . . . . . |
| 57 | Catch Drains: - Adequate depth/width. - Adequate flow capacity is being maintained. - Stabilised against soil scour. - Clear of sediment deposition. - Appropriate grass length is being maintained. - Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 58 | Channel Linings (mats): - Lining is well anchored. - Mats overlap in direction of flow. - Lining is appropriate for flow conditions. - No damage to the mat by lateral inflows. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 59 | Check Dams: - Flow is passing over the dams and not around them. - Check Dams are not causing excessive channel restriction. - Rock Check Dams are not used in shallow drains. - Check Dams are appropriately spaced down the drain. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 60 | Chutes (rock): - Geotextile filter cloth is installed under the rock. - Rock placement has not reduced chute flow capacity. - Rock size appears adequate for expected flow velocity. - Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 61 | Chutes (geotextile): - Lining is well anchored. - Mats overlap in direction of flow. - Lining is appropriate for flow conditions. - Water discharges through a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 62 | Level Spreaders: - Outlet weir is level and undamaged. - No sediment deposition within Level Spreader. - Discharges “sheet” flow to a stable, well-grassed outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 63 | Slope Drains: - Adequate erosion/sediment controls at pipe inlet. - Pipes are well anchored. - No obvious water leaks. - Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 64 | Stormwater Outlets: - Energy dissipation is appropriate for the conditions. - Rock size is greater than 200mm. - Soil erosion is being controlled. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 65 | Temporary Watercourse Crossings: - Crossing type is appropriate for the stream conditions. - Sediment runoff from the approach roads is controlled. - Likely damage to the crossing and the stream caused by possible overtopping flows is considered acceptable. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part H: Erosion controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 66 | Erosion control standard is consistent with requirements of regulatory authority. | . . . . . . . . . . . |
| 67 | Soil erosion is being controlled to a standard consistent with the level of environmental risk. | . . . . . . . . . . . |
| 68 | Erosion Control measures are consistent with the approved ESCP. | . . . . . . . . . . . |
| 69 | Disturbance to existing ground cover is being delayed as long as possible. | . . . . . . . . . . . |
| 70 | Raindrop impact erosion is being adequately controlled. | . . . . . . . . . . . |
| 71 | Earth batters are free of “rill” erosion. | . . . . . . . . . . . |
| 72 | Dust problems are being adequately controlled. | . . . . . . . . . . . |
| 73 | Erosion Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 74 | All disturbed areas are adequately stabilised given: - Erosion hazard risk. - Degree of downstream sediment control. - Days since earthworks were finalised. - Days before any soil disturbance will be re-worked. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 75 | Erosion Control Blankets: - Blankets are well anchored. - Blankets overlap in direction of stormwater flow. - Blanket strength is appropriate for site conditions. - Synthetic blanket reinforcing will not endanger wildlife. - Blankets not damaged by lateral inflows. - Blankets protected against movement by winds. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 76 | Mulching (light): - Minimum 70% coverage of soil surface. - Suitable tackifier used on steep slopes. - Drainage controls preventing mulch displacement. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 77 | Mulch (heavy): - Minimum 100% coverage of soil. - Minimum depth adequate to control weeds. - Drainage controls preventing mulch displacement. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 78 | Soil Binders: - No adverse environmental impacts observed. - No obvious over-spray. - Soil binders applied during appropriate weather conditions. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part I: Sediment controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 79 | Sediment is being controlled to a standard consistent with legislative requirements and the level of environmental risk. | . . . . . . . . . . . |
| 80 | Sediment Control is consistent with the approved ESCP. | . . . . . . . . . . . |
| 81 | Sediment Control is appropriate for the soil type. | . . . . . . . . . . . |
| 82 | No sub-catchment relies solely on “supplementary” sediment control traps. | . . . . . . . . . . . |
| 83 | Sediment Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 84 | Sediment control Buffer Zones are protected from traffic and are free of excessive sediment deposits. | . . . . . . . . . . . |
| 85 | Straw bales are not being used for sediment control, unless justified by exceptional circumstances. | . . . . . . . . . . . |
| 86 | Neighbouring properties are being adequately protected from sedimentation. | . . . . . . . . . . . |
| 87 | Collected sediment is being disposed of in an appropriate manner. | . . . . . . . . . . . |
| 88 | Entry/Exit Points: - Control measures are appropriate for the site conditions. - Control measures are constructed to appropriate standards. - Excessive sediment removed from sediment traps. - Excessive sedimentation is not evident on roadway. - Stormwater drainage is controlled such that sediment is not being washed onto the adjacent roadway. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 89 | Field (Drop) Inlet Controls: - Inlet control measures allow adequate ponding around stormwater inlets to capture sediment. - The sediment control measures do not simply divert sediment-laden water downstream to an uncontrolled inlet. - Sediment control measures will not cause a safety or local flood hazard. - Sediment traps are appropriate for site conditions. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 90 | Gully Inlet Controls: - Sediment traps are appropriate for the type of gully inlet, either “sag” or “on-grade” inlet. - Sediment traps allow adequate ponding around or up-slope of stormwater inlets to capture sediment. - Sediment traps do not simply divert sediment-laden water downstream to an uncontrolled inlet. - Sediment control measures will not cause a safety, traffic or local flooding hazard. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 91 | Table drain sediment traps: - Choice of sediment trap is appropriate for flow conditions. - Excessive sediment is removed from all traps. - Spill-through weir is set to an appropriate elevation. - Spill-through weir has adequate width. - Sediment Fence traps are formed in a tight U-shape that adequately prevents water bypassing the traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 92 | Sediment Fences: - Choice of fabric is appropriate. - Bottom of fabric is securely buried. - Fabric is appropriately overlapped at joints. - Fabric is appropriately attached to posts. - Support posts are at correct spacing (2m or 3m with backing). - Sediment Fence does not cause flow diversion/bypass. - Sediment Fence has regular returns. - Lower end(s) of fence is/are returned up the slope. - Sediment Fences are free of damage. - All fences are free of excessive sediment deposition. - Fences are adequately spaced from toe of fill banks. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 93 | Filter Tube Sediment Traps: - Geometry and layout match design details. - Sediment-laden water cannot bypass the filtration system. - Filter Tubes do not need replacement. - Filter Tubes and embankment are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 94 | Rock Filter Dams (Sediment Traps): - Geometry and layout match design details. - Excessive sediment removed from up-slope of all traps. - The filtration system is free from sediment blockage. - Rock Filter Dam and spillway are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 95 | Sediment Weirs: - Geometry and layout match design details. - Excessive sediment removed from up-slope of all traps. - The filtration system is free from sediment blockage. - Sediment Weir and splash pad (if any) are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 96 | Sediment Trench: - Trench geometry and layout match design details. - Excessive sediment removed from the trench. - Outlet structure (if any) is free from sediment blockage. - The open trench does not represent a safety hazard. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 97 | Sediment Controls for Non-Storm Runoff - Choice of sediment trap is appropriate for the site conditions and level of environmental risk. - All sediment is being contained within trap. | . . . . . . . . . . . . . . . . . . . . . . |
| 98 | Sediment Basin (1): Location . . . . . . . . . . . . . . . . . . . . . . . . . - Basin geometry and layout match design details. - “As constructed” plans have been prepared. - The basin does not represent a safety risk. - De-watering is conducted in accordance with best practice. - Excessive sediment removed from basin. - Sediment depth marker is installed and maintained. - Primary outlet structure is free from sediment blockage. - Flow conditions are not compromised across the spillway. - Emergency spillway has adequate scour control. - Adequate quantities of flocculant (if required) exist on-site. - Soil erosion is adequately controlled at inlet points. - The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 99 | Sediment Basin (2): Location . . . . . . . . . . . . . . . . . . . . . . . . . - Basin geometry and layout match design details. - “As constructed” plans have been prepared. - The basin does not represent a safety risk. - De-watering is conducted in accordance with best practice. - Excessive sediment removed from basin. - Sediment depth marker is installed and maintained. - Primary outlet structure is free from sediment blockage. - Flow conditions are not compromised across the spillway. - Emergency spillway has adequate scour control. - Adequate quantities of flocculant (if required) exist on-site. - Soil erosion is adequately controlled at inlet points. - The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 100 | Sediment Basin (3): Location . . . . . . . . . . . . . . . . . . . . . . . . . - Basin geometry and layout match design details. - “As constructed” plans have been prepared. - The basin does not represent a safety risk. - De-watering is conducted in accordance with best practice. - Excessive sediment removed from basin. - Sediment depth marker is installed and maintained. - Primary outlet structure is free from sediment blockage. - Flow conditions are not compromised across the spillway. - Emergency spillway has adequate scour control. - Adequate quantities of flocculant (if required) exist on-site. - Soil erosion is adequately controlled at inlet points. - The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 101 | Other Sediment Trap (1): Type . . . . . . . . . . . . . . . . . . . . . . . . - Choice of sediment trap is appropriate for the site conditions and level of environmental risk. - The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). - The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). - The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. - The sediment trap does not cause a safety, traffic or local flood hazard. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 102 | Other Sediment Trap (2): Type . . . . . . . . . . . . . . . . . . . . . . . . - Choice of sediment trap is appropriate for the site conditions and level of environmental risk. - The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). - The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). - The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. - The sediment trap does not cause a safety, traffic or local flood hazard. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 103 | Other Sediment Trap (3): Type . . . . . . . . . . . . . . . . . . . . . . . . - Choice of sediment trap is appropriate for the site conditions and level of environmental risk. - The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). - The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). - The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. - The sediment trap does not cause a safety, traffic or local flood hazard. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 104 | Other Sediment Trap (4): Type . . . . . . . . . . . . . . . . . . . . . . . . - Choice of sediment trap is appropriate for the site conditions and level of environmental risk. - The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). - The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). - The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. - The sediment trap does not cause a safety, traffic or local flood hazard. - Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part J: Instream works

| Item | Consideration | Assessment |
| --- | --- | --- |
| 105 | All necessary State and local government approvals have been obtained. | . . . . . . . . . . . |
| 106 | Temporary Watercourse Crossings (e.g. construction access) have been reduced to the minimum practical number. | . . . . . . . . . . . |
| 107 | Instream disturbance is limited to the minimum necessary to complete the proposed works. | . . . . . . . . . . . |
| 108 | Timing and staging of instream works will minimise exposure of the site to storm and/or stream flows. | . . . . . . . . . . . |
| 109 | Instream works are occurring at a time of the year that will minimise overall potential environmental harm: (a) avoiding seasonal high flows; (b) avoiding periods of likely fish migration; (c) avoiding active bird migration periods (Ramsar wetlands). | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 110 | Instream structures are not located on, or adjacent to, unstable or highly mobile channel bends. | . . . . . . . . . . . |
| 111 | Construction works are not unnecessarily disturbing instream or riparian vegetation. | . . . . . . . . . . . |
| 112 | Overbank disturbances are limited to only one bank wherever reasonable and practicable. | . . . . . . . . . . . |
| 113 | Stormwater runoff moving towards the channel from adjacent areas is being appropriately diverted around soil disturbances. | . . . . . . . . . . . |
| 114 | Erosion is not occurring as a result of stormwater passing down channel banks. | . . . . . . . . . . . |
| 115 | Normal channel flows are being diverted around in-bank disturbances as appropriate for the expected weather and channel flow conditions. | . . . . . . . . . . . |
| 116 | Appropriate temporary erosion control measures are being applied to disturbed areas. | . . . . . . . . . . . |
| 117 | Synthetic reinforced erosion control blankets/mats are not being used where there is a potential threat to wildlife. | . . . . . . . . . . . |
| 118 | Adopted instream sediment control measures are appropriate for the expected site and channel conditions. | . . . . . . . . . . . |
| 119 | Sediment Fences have not been placed in areas of actual or potential concentrated flow. | . . . . . . . . . . . |
| 120 | Appropriate material (spoil) de-watering procedures have been adopted. | . . . . . . . . . . . |
| 121 | Site stabilisation and rehabilitation is occurring as soon as practicable. | . . . . . . . . . . . |
| 122 | Appropriate site rehabilitation measures are being adopted. | . . . . . . . . . . . |

Part K: Site stabilisation/revegetation

| Item | Consideration | Assessment |
| --- | --- | --- |
| 123 | Site stabilisation/rehabilitation plan has been prepared. | . . . . . . . . . . . |
| 124 | Site stabilisation/revegetation is occurring in accordance with approved Plans and/or programming. | . . . . . . . . . . . |
| 125 | Exposed areas are adequately stabilised given the site conditions, environmental risk, and construction schedule. | . . . . . . . . . . . |
| 126 | Soil surfaces are suitably roughened prior to revegetation. | . . . . . . . . . . . |
| 127 | Excessive soil compaction is amended prior to revegetation. | . . . . . . . . . . . |
| 128 | Seedlings are appropriately stored prior to planting. | . . . . . . . . . . . |
| 129 | Seedlings are not excessively mature for their pot/tube size. | . . . . . . . . . . . |
| 130 | Drill seeding (if any) is being applied across the slope (not up and down the slope). | . . . . . . . . . . . |
| 131 | Newly seeded areas are developing an appropriate grass cover (not just strike rate), density and grass type. | . . . . . . . . . . . |
| 132 | No newly seeded areas require reseeding. | . . . . . . . . . . . |
| 133 | Soil erosion within revegetated areas is being adequately controlled (i.e. mulching) during the plant establishment phase. | . . . . . . . . . . . |
| 134 | Grass turfing is not being placed directly on compacted soil. | . . . . . . . . . . . |
| 135 | Water application is appropriate for the site conditions and water conservation requirements. | . . . . . . . . . . . |
| 136 | Soils are being appropriately prepared (i.e. pH, nutrients, and so on) prior to revegetation. | . . . . . . . . . . . |
| 137 | Revegetation is controlling soil erosion as required. | . . . . . . . . . . . |
| 138 | Newly seeded areas have been lightly mulched as specified. | . . . . . . . . . . . |
| 139 | Adequate heavy mulching placed around seedlings. | . . . . . . . . . . . |
| 140 | Newly established plants are being adequately maintained. | . . . . . . . . . . . |
| 141 | Weeds and grasses are being controlled around the base of newly established trees and shrubs. | . . . . . . . . . . . |
| 142 | Plants damaged by traffic or wind-rock are adequately supported or replaced. | . . . . . . . . . . . |
| 143 | Dead or severely damaged plants have been replaced. | . . . . . . . . . . . |

Part L: Action summary

| Item | Consideration | Yes or No |
| --- | --- | --- |
|  | Answer “Yes” if further action is required on site |  |
| 144 | Do any existing control measures require modification? | . . . . . . . . . . . |
| 145 | Are additional ESC measures required on the site? | . . . . . . . . . . . |
| 146 | Are alternative ESC measures required on the site? | . . . . . . . . . . . |
| 147 | Is a revised ESCP required for the site? | . . . . . . . . . . . |
| 148 | Is further water quality monitoring required? | . . . . . . . . . . . |
| 149 | Do any ESC measures need repairs or de-silting? | . . . . . . . . . . . |
| 150 | Is additional erosion control (minimum 70% cover) required? | . . . . . . . . . . . |
| 151 | Will the underlying cause of any non-compliance need further investigation? | . . . . . . . . . . . |
| 152 | Will it be necessary for the site to adopt an alternative Code of Practice better suited to the site conditions or work activities? | . . . . . . . . . . . |
| 153 | Will further site inspections be required? | . . . . . . . . . . . |

Notes:

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .