Drainage control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Catch Drain | CD |  | Chute | CH |  |
| Diversion Channel | DC |  | Flow Diversion Bank | DB |  |
| Level Spreader | LS |  | Outlet Structure | OS |  |
| Recessed Rock Check Dam | RRC |  | Rock Check Dam | RCD |  |
| Sandbag Check Dam | SBC |  | Slope Drain | SD |  |
| Bridge | TBC |  | Culvert | TCC |  |
| Temporary Downpipe | TD |  | Ford | TFC |  |
| Triangular Ditch Check | TDC |  |  |  |  |

Drainage control – channel/chute lining techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Cellular Confinement System | CCS |  | Erosion Control Mat | ECM |  |
| Geosynthetic lining | GEO |  | Grass lining | GC |  |
| Grass Pavers | GP |  | Hard Armouring | HA |  |
| Rock lining | RR |  | Rock Mattress | RM |  |
| Turfing | T |  | Turf Reinforcement Mat | TRM |  |

Instream flow control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Cofferdam | Dam |  | Floating Silt Curtain | FSC |  |
| Geo Log | Log |  | Isolation Barrier | IB |  |
| Sediment Fence Isolation Barrier | SFB |  |  |  |  |

Erosion control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Bonded Fibre Matrix | BFM |  | Cellular Confinement System | CCS |  |
| Compost Blanket | CBT |  | Erosion Control Blanket | ECB |  |
| Gravelling | Gravel |  | Heavy Mulching | MH |  |
| Light Mulching | M |  | Poly-acrylamide | Poly |  |
| Revegetation | R |  | Rock Mulching | MR |  |
| Soil Binders | SBS |  | Surface Roughening | SR |  |

Sediment control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Buffer Zones | BZ |  | Check Dam Sediment Trap | CDT |  |
| Coarse Sediment Trap | CST |  | Compost Berm | CB |  |
| Fibre Roll | FR |  | Filter Fence | FF |  |
| Filter Sock | FS |  | Filter Tube Dam | FTD |  |
| Grass Filter Strips | GFS |  | Modular Sediment Trap | MST |  |
| Mulch Berm | MB |  | Rock Filter Dam | RFD |  |
| Sediment Basin | SB |  | Sediment Fence – woven fabric | SF |  |
| Sediment Trench | SS |  | Sediment Weir | SW |  |
| Stiff Grass Barrier | SGB |  | Straw Bale Barrier | SBB |  |
| U-Shaped Sediment Trap | UST |  |  |  |  |

Sediment control –  entry/exit control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Construction Exit | Exit |  | Rock Pad | Exit |  |
| Vibration Grid | Exit |  | Wash Bay | Exit |  |

Sediment control –  roadside kerb inlet control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Gully Bag | GB |  | On-grade Kerb Inlet Sediment Trap | OG |  |
| Sag Inlet Sediment Trap | SA |  |  |  |  |

Sediment control –  field (drop) inlet control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Block & Aggregate Drop Inlet Protection | BA |  | Excavated Drop Inlet Protection | EX |  |
| Fabric Drop Inlet Protection | FD |  | Fabric Wrap Inlet Protection | FW |  |
| Filter Sock Drop Inlet Protection | FS |  | Gully Bag | GB |  |
| Mesh & Aggregate Drop Inlet Protection | MA |  | Rock & Aggregate Drop Inlet Protection | RA |  |

De-watering sediment control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Filter Bag | FB |  | Filter Fence | FF |  |
| Filter Pond | FP |  | Filter Tube | FT |  |
| Filter Tube Dam | FTD |  | Grass Filter Bed | GFB |  |
| Portable Sediment Tank | PST |  | Settling pond | SEP |  |
| Stilling Pond | STP |  | Sump Pit | SP |  |

Instream sediment control techniques

| Technique | Code | Symbol | Technique | Code | Symbol |
| --- | --- | --- | --- | --- | --- |
| Filter Tube Barrier | FTB |  | Modular Sediment Barrier | MSB |  |
| Rock Filter Dam | RFD |  | Sediment Filter cage | SFC |  |
| Sediment Weir | SW |  |  |  |  |