Example site-based Stormwater Quality Management Plan

| Issue | Stormwater Quality Management – Construction Phase |
| --- | --- |
| Purpose: | To provide a set of Best Practice site management procedures to control the severity and extent of soil erosion and pollutant transport during the earthworks and construction phase. |
| Performance Criteria: | Water discharged from the site is to comply with [insert relevant State Act, and date] to ensure that no detrimental impacts on water quality and the environment occur during the construction phase. The quality of discharge from the site to satisfy the following Water Quality Objectives (WQOs): Release Criteria: - An increase in suspended solids within surface waters contained in [insert name] – upstream of site to downstream of site – of less than 10%. - Water pH released from a controlled sediment basin outflow must be within the range 6.5 to 8.5. - Suspended Solids released from controlled sediment basin outflows must be no greater than 50mg/L. - Oils and Grease – no visible films or odour. - Litter – no visible litter washed or blown from the site. |
| Responsibility: | The owner of the property will be responsible for the implementation of the Water Quality Monitoring Program (WQMP) during the course of all construction activities. The Construction Contractor will be responsible for the implementation of the Stormwater Management Plan (SWMP) during the course of all construction activities. |
| Implementation Strategy: | Permanent and long-term drains and bund walls to be topsoiled and vegetated with suitable vegetation as soon as possible. Clean-up of general site litter on a weekly basis, prior to anticipated heavy rainfall and after significant rainfall events (>25mm/24hours). Landscaping activities and revegetation to occur as soon as practical after completion of earthworks and construction activities within the immediate area and must achieve a minimum 70% coverage of all erodible surfaces. Only appropriate herbicides and fertilisers to be used. The storage and handling of flammable and combustible liquids is managed in accordance with AS1940–1993. A detailed Erosion and Sediment Control Plan (ESCP) must be submitted to, and approved by, [insert name of regulatory authority] prior to site establishment and commencement of vegetation clearing or soil disturbance within each subdivision stage. Where appropriate, ESCPs must incorporate guidelines on the treatment, protection and stabilisation of exposed dispersive soils. |
| Monitoring: | Erosion and sediment control (ESC) measures to be inspected daily by the site manager (or nominated representative) during periods of runoff-producing rainfall, and de-silted, repaired and amended as appropriate to maintain the WQOs. - Daily site inspections, during periods of runoff-producing rainfall must include: - all drainage, erosion and sediment control measures; - occurrences of excessive sediment deposition (whether on-site or off-site); - all site discharge points. - Weekly site inspections must include: - all drainage, erosion and sediment control measures; - occurrences of excessive sediment deposition (whether on-site or off-site); - occurrences of construction materials, litter or sediment placed, deposited, washed or blown from the site, including deposition by vehicular movements; - litter and waste receptors; - oil, fuel and chemical storage facilities. - Site inspections immediately prior to anticipated runoff-producing rainfall must include: - all drainage, erosion and sediment control measures; - all temporary (e.g. over-night) flow diversion and drainage works. - Site inspections immediately following runoff-producing rainfall must include: - treatment and de-watering requirements of sediment basins; - sediment deposition within sediment basins and the need for its removal; - all drainage, erosion and sediment control measures; - occurrences of excessive sediment deposition (whether on-site or off-site); - occurrences of construction materials, litter or sediment placed, deposited, washed or blown from the site, including deposition by vehicular movements; - occurrences of excessive erosion, sedimentation, or mud generation around the site office, car park and material storage areas. - In addition to the above, monthly site inspections must include: - surface coverage of finished surfaces (both area and percentage cover); - health of recently established vegetation; - proposed staging of future site clearing, earthworks and site/soil stabilisation. Water quality monitoring must be carried out on any controlled discharge of water from a sediment basin, including water pH and suspended solids. - Water quality monitoring at the nominated monitoring stations must be carried out monthly and following significant rainfall (>25mm in 72hrs). The parameters to be tested for waters collected at monitoring stations must include: temperature, dissolved oxygen, pH, specific conductance, salinity, turbidity, suspended solids, and litter. Note that additional water quality monitoring maybe required if the WQOs are not being met. |
| Auditing: | ESCP reviews are to be carried out on a monthly basis to assess the implementation strategy. A checklist is to be completed which assesses the strategies listed above. |
| Identification of Incident or Failure: | Non-compliance with agreed performance criteria will be identified by: - Visual inspections identifying: - build-up of sediment off the site; - excessive sediment build-up on the site; - excessive erosion on the site; - release of construction material from the site; - poor vegetation establishment; - poorly maintained, damaged or failed ESC devices. - Deteriorated water quality identified by the Environmental Consultant as being attributable to the construction activities. |
| Corrective Action: | After any identification of incident or failure, the source/cause is to be immediately located and the following measures implemented: - Build-up of sediment off the site – the material must be collected and disposed of in a manner that will not cause ongoing environmental nuisance or harm; then on-site ESC measures amended, where appropriate, to reduce the risk of further sedimentation. - Excessive sediment build-up on the site – collect and dispose of material, then amend up-slope drainage and/or erosion control measures as appropriate to reduce further occurrence. - Severe or excessive rill erosion – investigate cause, control up-slope water movement, re-profile surface, cover dispersive soils with a minimum 100mm layer of non-dispersive soil, and stabilise with erosion control blankets and vegetation as necessary. - Off-stream erosion – fill rills, vegetate and install velocity control measures. - In-stream erosion – consult appropriate hydraulic/waterway consultant for advice. - Release of construction material from the site – collected and disposed of in a manner that will not cause ongoing environmental nuisance or harm; then inspect litter and waste receptors. - Poor vegetation growth or soil coverage – plant new vegetation and/or mulch as required. Newly planted and previously planted areas may require supplementary watering and replanting. - Sediment fence failure – replace and monitor more frequently. Regular failures may mean that the sediment fence location, alignment or installation may need to be amended. If the release of excessive sediment and/or other materials off the site occurs, or water quality monitoring indicates levels are not within the WQOs, clean up deposition, and inspect all control measures. If the release of excessive sediment and/or other materials off the site is identified during two consecutive site inspections, or water quality monitoring indicates levels not within the WQOs on two consecutive monthly tests, then review and revise the ESCP, or otherwise reduce the rate, extent and/or duration of soil exposure. If monitored levels within any sediment basin does not conform to the release criteria for: - suspended solids – flocculate and retest; - pH – add acid if pH is too high, or add hydrated lime if pH is too low, and retest. |
| Reporting: | Reports will be submitted monthly during the construction at each stage. The reporting will include: - Construction Contractor site manager’s report; and - Environmental Consultant’s water quality monitoring report. Reporting will conform to [insert document] and identify performance of the implementation strategy, monitoring, identification of incidents and failure, and necessary/adopted corrective action. Reports will be submitted to the owner (or their appointed representative) monthly for submission to [insert name of regulatory authority]. |