# Daily Site Inspection

LOCATION	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

SITE SUPERVISOR  . . . . . . . . . . . . . . . . . . . . . . . . . . .	DATE	. . . . . . . . . . . . . . . . .

SIGNATURE		. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Legend:	  OK	  Not OK	N/A  Not applicable

| Item | Consideration | Assessment |
| --- | --- | --- |
| 1 | All tradespeople working on the site have been informed of the erosion and sediment control requirements of the site. | . . . . . . . . . . . |
| 2 | All required builder identification, safety notices, and pollution (e.g. litter and sediment control) management signs are visible. | . . . . . . . . . . . |
| 3 | The work site and all erosion and sediment control measures do not represent a safety risk to tradespeople or the public. | . . . . . . . . . . . |
| 4 | Public roadways are clear of sediment. | . . . . . . . . . . . |
| 5 | Turfing on the footpath area is clear of sediment, sand and mud. | . . . . . . . . . . . |
| 6 | Entry/exit pads are clear of excessive sediment deposition. | . . . . . . . . . . . |
| 7 | Entry/exit pads have adequate available void spacing to trap sediment. | . . . . . . . . . . . |
| 8 | The construction site is clear of litter and unconfined rubbish. | . . . . . . . . . . . |
| 9 | Long-term (> 24 hours) soil/sand stockpiles are protected from wind, rain, and stormwater flow. | . . . . . . . . . . . |
| 10 | At end of day, all short-term soil/sand stockpiles located outside the sediment control zone have been removed and cleaned. | . . . . . . . . . . . |
| 11 | No dust problems exist on the site. | . . . . . . . . . . . |
| 12 | Up-slope “clean” water is being appropriately diverted through the site in a non-erosive manner. | . . . . . . . . . . . |
| 13 | Drainage lines are free of soil scour and sediment deposition. | . . . . . . . . . . . |
| 14 | Stormwater flow down exposed earth batters does not cause erosion. |  |
| 15 | Appropriate erosion controls of all finished soil disturbances have been discussed with the client. | . . . . . . . . . . . |
| 16 | Sediment fences have been correctly installed (e.g. fabric buried and standing up-slope of stakes) and are free of damage. | . . . . . . . . . . . |
| 17 | Sediment fences have been installed in a manner that will allow sediment-laden stormwater to temporarily pond and settle behind the fence rather than flow around the fence. | . . . . . . . . . . . |
| 18 | Appropriate sediment controls have been placed adjacent to, or around, stormwater inlets—as appropriate for the type of inlet. | . . . . . . . . . . . |
| 19 | All sediment traps are free of excessive sediment deposition. | . . . . . . . . . . . |
| 20 | Finished service trenches have been appropriately backfilled, compacted and stabilised. | . . . . . . . . . . . |
| 21 | All reasonable and practicable measures are being taken to control sediment runoff from the site. | . . . . . . . . . . . |
| 22 | The site is adequately prepared for potential storms. | . . . . . . . . . . . |
| 23 | Adequate stockpiles exist of ESC materials, such as extra sediment fence fabric. | . . . . . . . . . . . |
| 24 | Temporary downpipes have been correctly connected to any installed roof gutters. | . . . . . . . . . . . |