# Site Inspection Checklist

LOCATION OF DEVELOPMENT	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

INSPECTION OFFICER  . . . . . . . . . . . . . . . . . . . . . . . . . . .	DATE	. . . . . . . . . . . . . . . . .

SIGNATURE		. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

N/A	–  not applicable

( 	–  acceptable controls adopted

(  	–  measures are not acceptable, or a potential problem exists

Part A: Initial site inspection

| Item | Consideration | Assessment |
| --- | --- | --- |
| 1 | Has an Erosion and Sediment Control Plan (ESCP) been approved for the site? | . . . . . . . . . . . |
| 2 | Have all necessary development approvals been obtained? | . . . . . . . . . . . |
| 3 | Are site conditions consistent with those assumed within the approved ESCP? | . . . . . . . . . . . |
| 4 | Are environmental values being adequately protected? | . . . . . . . . . . . |
| 5 | Are all ESC-related development conditions being satisfied? | . . . . . . . . . . . |
| 6 | Was the full perimeter of the work site inspected? | . . . . . . . . . . . |
| 7 | Are all reasonable and practicable measures being taken to minimise environmental harm? | . . . . . . . . . . . |

Part B: Site inspection and monitoring

| Item | Consideration | Assessment |
| --- | --- | --- |
| 8 | Appropriate in-house site inspections of ESC practices are being carried out such that all control measures are being maintained. | . . . . . . . . . . . |
| 9 | Site inspections and monitoring are being carried out at appropriate times and intervals. | . . . . . . . . . . . |

Part C: Site establishment

| Item | Consideration | Assessment |
| --- | --- | --- |
| 10 | Site access is controlled and the number of access points minimised. | . . . . . . . . . . . |
| 11 | Adequate drainage and sediment controls exist at site entry/exit points. | . . . . . . . . . . . |
| 12 | Adequate drainage, erosion and sediment controls have been placed around the site compound. | . . . . . . . . . . . |
| 13 | Office compound area and car park gravelled/stabilised where necessary to control erosion and mud generation. | . . . . . . . . . . . |
| 14 | Appropriate drainage and sediment controls are installed prior to new areas being cleared or disturbed. | . . . . . . . . . . . |

Part D: Site and vegetation management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 15 | Vegetation Management Plan (VMP) and/or landscape plan has been prepared. | . . . . . . . . . . . |
| 16 | VMP and/or landscape plan is being appropriately implemented. | . . . . . . . . . . . |
| 17 | Site personnel appear to be aware of ESC requirements and have ready access to the Erosion and Sediment Control Plan. | . . . . . . . . . . . |
| 18 | ESC measures are being installed in accordance with the approved Installation Sequence. | . . . . . . . . . . . |
| 19 | Adequate supplies of ESC materials stored on-site: such as straw bales, wire, stakes, sediment fence fabric, filter cloth, clean aggregate. | . . . . . . . . . . . |
| 20 | Temporary access roads are stabilised where appropriate. | . . . . . . . . . . . |
| 21 | Permanent roads are programmed to be sealed as soon as reasonable and practicable. | . . . . . . . . . . . |
| 22 | Sediment deposition is not observed on external roads. | . . . . . . . . . . . |
| 23 | Adequate records are being kept on chemical dosing of sediment basins, site inspections and site maintenance. | . . . . . . . . . . . |
| 24 | The site is adequately prepared for the anticipated weather conditions. | . . . . . . . . . . . |
| 25 | “Witness Points” and “Hold Points” are being appropriately managed and adhered to. | . . . . . . . . . . . |
| 26 | Adequate protection provided for non-disturbance areas, buffer zones, protected trees. | . . . . . . . . . . . |
| 27 | Disturbances removed from the drip line of protected trees. | . . . . . . . . . . . |
| 28 | Brick-, masonry-, concrete-, and tile-cutting activities not carried out within road reserves (if possible) and all liquid waste is fully contained on-site or behind bunds. | . . . . . . . . . . . |

Part E: Material and waste management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 29 | Chemicals and petroleum products appropriately stored on site. | . . . . . . . . . . . |
| 30 | Emergency spill response plan has been prepared for the site. | . . . . . . . . . . . |
| 31 | Oil/petroleum spill containment/response kits available on-site where appropriate. | . . . . . . . . . . . |
| 32 | Adequate litter and waste receptors exist on-site. | . . . . . . . . . . . |
| 33 | Waste receptors for concrete, paints, acid washing, litter and building waste are being maintained. | . . . . . . . . . . . |
| 34 | Cement-laden liquid waste and wash-off is prevented from entering waterways and stormwater systems. | . . . . . . . . . . . |
| 35 | Waste water from construction activities such as wash water, de-watering operations, and dust control is being captured and treated. | . . . . . . . . . . . |
| 36 | On-site mortar/cement/concrete mixing is carried out behind earth bunds, or other such measures employed to fully contain cement-laden waste and spills. | . . . . . . . . . . . |
| 37 | Appropriate wash-down facilities provided from concrete trucks, mixing and pumping equipment. | . . . . . . . . . . . |

Part F: Soil management

| Item | Consideration | Assessment |
| --- | --- | --- |
| 38 | Topsoil stripped and stockpiled prior to major earthworks. | . . . . . . . . . . . |
| 39 | Stockpiles located at least 5m away from top of watercourse banks. | . . . . . . . . . . . |
| 40 | Long-term soil stockpiles adequately protected against wind and rain. | . . . . . . . . . . . |
| 41 | Adequate sediment controls placed down-slope of stockpiles. | . . . . . . . . . . . |
| 42 | Stockpile sediment control (Filter Fence or Sediment Fence) is appropriate for the soil type and site conditions. | . . . . . . . . . . . |
| 43 | Adequate drainage controls placed up-slope of stockpiles. | . . . . . . . . . . . |
| 44 | Soil stockpiles do not encroach upon protected vegetation. | . . . . . . . . . . . |
| 45 | Subsoils adequately scarified prior to topsoil placement. | . . . . . . . . . . . |
| 46 | Topsoil is being replaced at an adequate depth. | . . . . . . . . . . . |

Part G: Drainage controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 47 | Construction Drainage Plans (CDPs) are consistent with actual site conditions (i.e. current stage of works). | . . . . . . . . . . . |
| 48 | Drainage Control measures are consistent with the ESCP. | . . . . . . . . . . . |
| 49 | Drainage Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 50 | Adequate diversion/management of up-slope stormwater. | . . . . . . . . . . . |
| 51 | Up-slope “clean” water is being appropriately diverted around/through the site in a non-erosive manner. | . . . . . . . . . . . |
| 52 | Stormwater runoff diverted away from unstable slopes. | . . . . . . . . . . . |
| 53 | Flow diversion channels/banks stabilised against erosion. | . . . . . . . . . . . |
| 54 | Flow not unlawfully discharged onto an adjacent property. | . . . . . . . . . . . |
| 55 | Spacing of cross drainage (e.g. Catch Drains or Flow Diversion Banks) down long slopes is sufficient to prevent “rill” erosion. | . . . . . . . . . . . |
| 56 | Earth batters are free of “rill” erosion. | . . . . . . . . . . . |
| 57 | Catch Drains: Adequate depth/width. Adequate flow capacity is being maintained. Stabilised against soil scour. Clear of sediment deposition. Appropriate grass length is being maintained. Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 58 | Channel Linings (mats): Lining is well anchored. Mats overlap in direction of flow. Lining is appropriate for flow conditions. No damage to the mat by lateral inflows. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 59 | Check Dams: Flow is passing over the dams and not around them. Check Dams are not causing excessive channel restriction. Rock Check Dams are not used in shallow drains. Check Dams are appropriately spaced down the drain. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 60 | Chutes (rock): Geotextile filter cloth is installed under the rock. Rock placement has not reduced chute flow capacity. Rock size appears adequate for expected flow velocity. Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 61 | Chutes (geotextile): Lining is well anchored. Mats overlap in direction of flow. Lining is appropriate for flow conditions. Water discharges through a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 62 | Level Spreaders: Outlet weir is level and undamaged. No sediment deposition within Level Spreader. Discharges “sheet” flow to a stable, well-grassed outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 63 | Slope Drains: Adequate erosion/sediment controls at pipe inlet. Pipes are well anchored. No obvious water leaks. Water discharges via a stable outlet. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 64 | Stormwater Outlets: Energy dissipation is appropriate for the conditions. Rock size is greater than 200mm. Soil erosion is being controlled. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 65 | Temporary Watercourse Crossings: Crossing type is appropriate for the stream conditions. Sediment runoff from the approach roads is controlled. Likely damage to the crossing and the stream caused by possible overtopping flows is considered acceptable. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part H: Erosion controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 66 | Erosion control standard is consistent with requirements of regulatory authority. | . . . . . . . . . . . |
| 67 | Soil erosion is being controlled to a standard consistent with the level of environmental risk. | . . . . . . . . . . . |
| 68 | Erosion Control measures are consistent with the approved ESCP. | . . . . . . . . . . . |
| 69 | Disturbance to existing ground cover is being delayed as long as possible. | . . . . . . . . . . . |
| 70 | Raindrop impact erosion is being adequately controlled. | . . . . . . . . . . . |
| 71 | Earth batters are free of “rill” erosion. | . . . . . . . . . . . |
| 72 | Dust problems are being adequately controlled. | . . . . . . . . . . . |
| 73 | Erosion Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 74 | All disturbed areas are adequately stabilised given: Erosion hazard risk. Degree of downstream sediment control. Days since earthworks were finalised. Days before any soil disturbance will be re-worked. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 75 | Erosion Control Blankets: Blankets are well anchored. Blankets overlap in direction of stormwater flow. Blanket strength is appropriate for site conditions. Synthetic blanket reinforcing will not endanger wildlife. Blankets not damaged by lateral inflows. Blankets protected against movement by winds. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 76 | Mulching (light): Minimum 70% coverage of soil surface. Suitable tackifier used on steep slopes. Drainage controls preventing mulch displacement. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 77 | Mulch (heavy): Minimum 100% coverage of soil. Minimum depth adequate to control weeds. Drainage controls preventing mulch displacement. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 78 | Soil Binders: No adverse environmental impacts observed. No obvious over-spray. Soil binders applied during appropriate weather conditions. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part I: Sediment controls

| Item | Consideration | Assessment |
| --- | --- | --- |
| 79 | Sediment is being controlled to a standard consistent with legislative requirements and the level of environmental risk. | . . . . . . . . . . . |
| 80 | Sediment Control is consistent with the approved ESCP. | . . . . . . . . . . . |
| 81 | Sediment Control is appropriate for the soil type. | . . . . . . . . . . . |
| 82 | No sub-catchment relies solely on “supplementary” sediment control traps. | . . . . . . . . . . . |
| 83 | Sediment Control measures are being adequately maintained in proper working order at all times. | . . . . . . . . . . . |
| 84 | Sediment control Buffer Zones are protected from traffic and are free of excessive sediment deposits. | . . . . . . . . . . . |
| 85 | Straw bales are not being used for sediment control, unless justified by exceptional circumstances. | . . . . . . . . . . . |
| 86 | Neighbouring properties are being adequately protected from sedimentation. | . . . . . . . . . . . |
| 87 | Collected sediment is being disposed of in an appropriate manner. | . . . . . . . . . . . |
| 88 | Entry/Exit Points: Control measures are appropriate for the site conditions. Control measures are constructed to appropriate standards. Excessive sediment removed from sediment traps. Excessive sedimentation is not evident on roadway. Stormwater drainage is controlled such that sediment is not being washed onto the adjacent roadway. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 89 | Field (Drop) Inlet Controls: Inlet control measures allow adequate ponding around stormwater inlets to capture sediment. The sediment control measures do not simply divert sediment-laden water downstream to an uncontrolled inlet. Sediment control measures will not cause a safety or local flood hazard. Sediment traps are appropriate for site conditions. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 90 | Gully Inlet Controls: Sediment traps are appropriate for the type of gully inlet, either “sag” or “on-grade” inlet. Sediment traps allow adequate ponding around or up-slope of stormwater inlets to capture sediment. Sediment traps do not simply divert sediment-laden water downstream to an uncontrolled inlet. Sediment control measures will not cause a safety, traffic or local flooding hazard. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 91 | Table drain sediment traps: Choice of sediment trap is appropriate for flow conditions. Excessive sediment is removed from all traps. Spill-through weir is set to an appropriate elevation. Spill-through weir has adequate width. Sediment Fence traps are formed in a tight U-shape that adequately prevents water bypassing the traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 92 | Sediment Fences: Choice of fabric is appropriate. Bottom of fabric is securely buried. Fabric is appropriately overlapped at joints. Fabric is appropriately attached to posts. Support posts are at correct spacing (2m or 3m with backing). Sediment Fence does not cause flow diversion/bypass. Sediment Fence has regular returns. Lower end(s) of fence is/are returned up the slope. Sediment Fences are free of damage. All fences are free of excessive sediment deposition. Fences are adequately spaced from toe of fill banks. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 93 | Filter Tube Sediment Traps: Geometry and layout match design details. Sediment-laden water cannot bypass the filtration system. Filter Tubes do not need replacement. Filter Tubes and embankment are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 94 | Rock Filter Dams (Sediment Traps): Geometry and layout match design details. Excessive sediment removed from up-slope of all traps. The filtration system is free from sediment blockage. Rock Filter Dam and spillway are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 95 | Sediment Weirs: Geometry and layout match design details. Excessive sediment removed from up-slope of all traps. The filtration system is free from sediment blockage. Sediment Weir and splash pad (if any) are free of damage. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 96 | Sediment Trench: Trench geometry and layout match design details. Excessive sediment removed from the trench. Outlet structure (if any) is free from sediment blockage. The open trench does not represent a safety hazard. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 97 | Sediment Controls for Non-Storm Runoff Choice of sediment trap is appropriate for the site conditions and level of environmental risk. All sediment is being contained within trap. | . . . . . . . . . . . . . . . . . . . . . . |
| 98 | Sediment Basin (1): Location . . . . . . . . . . . . . . . . . . . . . . . . . Basin geometry and layout match design details. “As constructed” plans have been prepared. The basin does not represent a safety risk. De-watering is conducted in accordance with best practice. Excessive sediment removed from basin. Sediment depth marker is installed and maintained. Primary outlet structure is free from sediment blockage. Flow conditions are not compromised across the spillway. Emergency spillway has adequate scour control. Adequate quantities of flocculant (if required) exist on-site. Soil erosion is adequately controlled at inlet points. The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 99 | Sediment Basin (2): Location . . . . . . . . . . . . . . . . . . . . . . . . . Basin geometry and layout match design details. “As constructed” plans have been prepared. The basin does not represent a safety risk. De-watering is conducted in accordance with best practice. Excessive sediment removed from basin. Sediment depth marker is installed and maintained. Primary outlet structure is free from sediment blockage. Flow conditions are not compromised across the spillway. Emergency spillway has adequate scour control. Adequate quantities of flocculant (if required) exist on-site. Soil erosion is adequately controlled at inlet points. The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 100 | Sediment Basin (3): Location . . . . . . . . . . . . . . . . . . . . . . . . . Basin geometry and layout match design details. “As constructed” plans have been prepared. The basin does not represent a safety risk. De-watering is conducted in accordance with best practice. Excessive sediment removed from basin. Sediment depth marker is installed and maintained. Primary outlet structure is free from sediment blockage. Flow conditions are not compromised across the spillway. Emergency spillway has adequate scour control. Adequate quantities of flocculant (if required) exist on-site. Soil erosion is adequately controlled at inlet points. The settled sediment layer is clearly visible through ponded water prior to discharge such water. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 101 | Other Sediment Trap (1): Type . . . . . . . . . . . . . . . . . . . . . . . . Choice of sediment trap is appropriate for the site conditions and level of environmental risk. The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. The sediment trap does not cause a safety, traffic or local flood hazard. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 102 | Other Sediment Trap (2): Type . . . . . . . . . . . . . . . . . . . . . . . . Choice of sediment trap is appropriate for the site conditions and level of environmental risk. The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. The sediment trap does not cause a safety, traffic or local flood hazard. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 103 | Other Sediment Trap (3): Type . . . . . . . . . . . . . . . . . . . . . . . . Choice of sediment trap is appropriate for the site conditions and level of environmental risk. The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. The sediment trap does not cause a safety, traffic or local flood hazard. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 104 | Other Sediment Trap (4): Type . . . . . . . . . . . . . . . . . . . . . . . . Choice of sediment trap is appropriate for the site conditions and level of environmental risk. The sediment trap allows adequate ponding to capture coarse sediment (Type 2 and Type 3 Sediment Traps). The sediment trap allows adequate filtration to capture fine sediment (Type 2 Sediment Traps). The sediment trap does not simply divert sediment-laden water downstream to an uncontrolled outlet. The sediment trap does not cause a safety, traffic or local flood hazard. Excessive sediment deposition is removed from all traps. | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Part J: Instream works

| Item | Consideration | Assessment |
| --- | --- | --- |
| 105 | All necessary State and local government approvals have been obtained. | . . . . . . . . . . . |
| 106 | Temporary Watercourse Crossings (e.g. construction access) have been reduced to the minimum practical number. | . . . . . . . . . . . |
| 107 | Instream disturbance is limited to the minimum necessary to complete the proposed works. | . . . . . . . . . . . |
| 108 | Timing and staging of instream works will minimise exposure of the site to storm and/or stream flows. | . . . . . . . . . . . |
| 109 | Instream works are occurring at a time of the year that will minimise overall potential environmental harm: (a) avoiding seasonal high flows; (b) avoiding periods of likely fish migration; (c) avoiding active bird migration periods (Ramsar wetlands). | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 110 | Instream structures are not located on, or adjacent to, unstable or highly mobile channel bends. | . . . . . . . . . . . |
| 111 | Construction works are not unnecessarily disturbing instream or riparian vegetation. | . . . . . . . . . . . |
| 112 | Overbank disturbances are limited to only one bank wherever reasonable and practicable. | . . . . . . . . . . . |
| 113 | Stormwater runoff moving towards the channel from adjacent areas is being appropriately diverted around soil disturbances. | . . . . . . . . . . . |
| 114 | Erosion is not occurring as a result of stormwater passing down channel banks. | . . . . . . . . . . . |
| 115 | Normal channel flows are being diverted around in-bank disturbances as appropriate for the expected weather and channel flow conditions. | . . . . . . . . . . . |
| 116 | Appropriate temporary erosion control measures are being applied to disturbed areas. | . . . . . . . . . . . |
| 117 | Synthetic reinforced erosion control blankets/mats are not being used where there is a potential threat to wildlife. | . . . . . . . . . . . |
| 118 | Adopted instream sediment control measures are appropriate for the expected site and channel conditions. | . . . . . . . . . . . |
| 119 | Sediment Fences have not been placed in areas of actual or potential concentrated flow. | . . . . . . . . . . . |
| 120 | Appropriate material (spoil) de-watering procedures have been adopted. | . . . . . . . . . . . |
| 121 | Site stabilisation and rehabilitation is occurring as soon as practicable. | . . . . . . . . . . . |
| 122 | Appropriate site rehabilitation measures are being adopted. | . . . . . . . . . . . |

Part K: Site stabilisation/revegetation

| Item | Consideration | Assessment |
| --- | --- | --- |
| 123 | Site stabilisation/rehabilitation plan has been prepared. | . . . . . . . . . . . |
| 124 | Site stabilisation/revegetation is occurring in accordance with approved Plans and/or programming. | . . . . . . . . . . . |
| 125 | Exposed areas are adequately stabilised given the site conditions, environmental risk, and construction schedule. | . . . . . . . . . . . |
| 126 | Soil surfaces are suitably roughened prior to revegetation. | . . . . . . . . . . . |
| 127 | Excessive soil compaction is amended prior to revegetation. | . . . . . . . . . . . |
| 128 | Seedlings are appropriately stored prior to planting. | . . . . . . . . . . . |
| 129 | Seedlings are not excessively mature for their pot/tube size. | . . . . . . . . . . . |
| 130 | Drill seeding (if any) is being applied across the slope (not up and down the slope). | . . . . . . . . . . . |
| 131 | Newly seeded areas are developing an appropriate grass cover (not just strike rate), density and grass type. | . . . . . . . . . . . |
| 132 | No newly seeded areas require reseeding. | . . . . . . . . . . . |
| 133 | Soil erosion within revegetated areas is being adequately controlled (i.e. mulching) during the plant establishment phase. | . . . . . . . . . . . |
| 134 | Grass turfing is not being placed directly on compacted soil. | . . . . . . . . . . . |
| 135 | Water application is appropriate for the site conditions and water conservation requirements. | . . . . . . . . . . . |
| 136 | Soils are being appropriately prepared (i.e. pH, nutrients, and so on) prior to revegetation. | . . . . . . . . . . . |
| 137 | Revegetation is controlling soil erosion as required. | . . . . . . . . . . . |
| 138 | Newly seeded areas have been lightly mulched as specified. | . . . . . . . . . . . |
| 139 | Adequate heavy mulching placed around seedlings. | . . . . . . . . . . . |
| 140 | Newly established plants are being adequately maintained. | . . . . . . . . . . . |
| 141 | Weeds and grasses are being controlled around the base of newly established trees and shrubs. | . . . . . . . . . . . |
| 142 | Plants damaged by traffic or wind-rock are adequately supported or replaced. | . . . . . . . . . . . |
| 143 | Dead or severely damaged plants have been replaced. | . . . . . . . . . . . |

Part L: Action summary

| Item | Consideration | Yes or No |
| --- | --- | --- |
|  | Answer “Yes” if further action is required on site |
| 144 | Do any existing control measures require modification? | . . . . . . . . . . . |
| 145 | Are additional ESC measures required on the site? | . . . . . . . . . . . |
| 146 | Are alternative ESC measures required on the site? | . . . . . . . . . . . |
| 147 | Is a revised ESCP required for the site? | . . . . . . . . . . . |
| 148 | Is further water quality monitoring required? | . . . . . . . . . . . |
| 149 | Do any ESC measures need repairs or de-silting? | . . . . . . . . . . . |
| 150 | Is additional erosion control (minimum 70% cover) required? | . . . . . . . . . . . |
| 151 | Will the underlying cause of any non-compliance need further investigation? | . . . . . . . . . . . |
| 152 | Will it be necessary for the site to adopt an alternative Code of Practice better suited to the site conditions or work activities? | . . . . . . . . . . . |
| 153 | Will further site inspections be required? | . . . . . . . . . . . |

Notes:

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .